🛠️ System Specification: Biomedical Engineering (Biomed) Workflow

This document outlines the end-to-end operational flow, business logic, system

architecture, and UI/UX requirements for Biomedical Engineers within the

AssetCare system.

1. Authentication & Role-Based Access Control (RBAC)

- Login Entry Point: Unified login screen.

- Input: Email or Staff ID.

- System Logic:

- Upon authentication, the backend verifies user permissions: Role ===

'Biomed'.

- Routing: Bypasses the Nurse Intake Screen and directly routes the user

to the Biomedical Engineering Dashboard.

2. Dynamic Routing: "Automatic Warranty Guard"

To prevent unauthorized repairs on covered equipment and avoid voiding

manufacturer warranties, the system executes an automated check prior to routing

reported faults.

[Nurse Reports Fault] ➔ [System Checks Purchase Date & Warranty Duration]

│

├──► (If Warranty ACTIVE) ──► Route to "External / Warranty Jobs" Queue

│                             • Block Internal Repair ("DO NOT TOUCH")

│                             • Auto-Draft Vendor Email

│

└──► (If Warranty EXPIRED) ─► Route to "Internal Triage Queue"

• Assign for Internal Repair

Scenario A: Under Warranty (Cost Preservation Mode)

- Condition: Purchase Date + Warranty Period > Today.

- System Actions:

1.  Displays a "DO NOT TOUCH - WARRANTY ACTIVE" safety warning to internal

staff.

2.  Sets status to WARRANTY_CLAIM_OPEN.

3.  Bypasses internal triage and routes the ticket to the External /

Warranty Queue.

4.  Auto-generates an official repair requisition email to the

manufacturer/vendor (e.g., support@philips.com).

5.  Biomed responsibility shifts from physical repair to logistics/vendor

management.

Scenario B: Warranty Expired (Internal Repair Mode)

- Condition: Warranty period has lapsed.

- System Actions:

1.  Routes the ticket to the Biomed Triage Queue.

2.  Sets status to PENDING_INTERNAL_REPAIR.

3.  Authorizes internal physical intervention by hospital staff.

3. Screen Architecture (4 Core Screens)

Screen 1: The Biomed Dashboard (Main View)

Desktop and tablet-optimized view categorized into three distinct operational

queues:

- Tab A: Triage Queue (Urgent / Reactive Repairs)

- Displays non-warranty equipment reported as "Out of Service" by Nurses.

- UI Elements: Asset Name, Ward Location, Reported Issue, Reported Time.

- Tab B: Compliance Schedule (Proactive Inspections)

- Displays functional equipment due for mandatory AS/NZS 3551 safety

testing today or overdue.

- UI Elements: Asset Name, Ward Location, Next Due Date.

- Tab C: External / Warranty Jobs (Vendor Tracking)

- Displays equipment covered under active warranty or dispatched to

third-party vendors.

- UI Elements: Vendor Name, Current Logistics Status, Date Initial Email

Sent.

Screen 2: The Repair Job Card (Reactive Repairs)

Triggered when selecting an item from Tab A (Triage Queue).

- Top Bar / Side Panel: "View Asset History" button (displays past 3–4 logged

issues, e.g., "Jul 2026: Battery Failure").

- Fault Information: Displays Nurse's submitted fault description.

- Resolution Input: Text area for "Resolution / Action Taken Notes".

- The Two-Button Completion Strategy: To resolve operational inefficiencies

(e.g., performing a major repair days before a scheduled routine service),

the interface provides two distinct completion buttons instead of a generic

"Save":

1.  Button 1: "Quick Fix Only" (Minor Repair)

- Usage: For non-invasive, surface-level fixes (e.g., knob

replacement, sticker application).

- System Action: Closes ticket, sets status to Active, retains

existing compliance service date.

2.  Button 2: "Fix + Full Service" (Major Repair)

- Usage: Executed when the machine chassis was opened or critical

components (e.g., power supply) were replaced.

- System Action: Closes ticket, sets status to Active, resets the

Compliance Due Timer (+1 Year from Today).

- Danger Zone (Bottom of Screen):

- Action Button: [Mark as Beyond Economical Repair (Condemn)]

- System Action: Removes asset from active queues, sets status to

PENDING_DISPOSAL, and triggers an automated notification to

Administration to arrange an EPA Decommissioning Certificate.

Screen 3: The Compliance Form (Routine Safety Testing)

Triggered when selecting an item from Tab B (Compliance Schedule).

- Purpose: Mandatory safety verification adhering to AS/NZS 3551 standards.

- Mandatory Input Fields (Numerical Validation Required):

- Earth Resistance (Ω) (Numerical entry required).

- Electrical Leakage Current (µA) (Numerical entry required).

- Pass / Fail Toggle (Selection required).

- Save Logic: The Save & Reset Timer button remains disabled until all numeric

fields contain valid inputs. Submitting updates the compliance timestamp and

auto-calculates the next service date (+1 year).

Screen 4: Vendor Logistics View (Warranty Management)

Triggered when selecting an item from Tab C (External / Warranty).

- Read-Only Status Header: Displays automated audit log (e.g., "Email

dispatched to support@vendor.com on [Date]").

- Status Badge: ⚠️ UNDER WARRANTY.

- Logistics Input Form:

- Option to enter Vendor Visit Date (for on-site repair of heavy machinery

like MRI/Ventilators).

- Option to enter Courier Tracking Number / RMA Reference (for

return-to-base small devices like Infusion Pumps).

- Action Button: [Mark as Received & Verified] (Restores asset status to

Active).

5. Notification Engine (Phase 1 MVP)

Complex push notification infrastructure is deferred for Phase 1. The system

utilizes two straightforward communication mechanisms:

1.  Critical Email Dispatch: Immediate email trigger via SendGrid / Nodemailer

to Biomed staff upon critical fault submission by a nurse.

2.  Dashboard Badge Counters: Red numeric indicators on the Biomed navigation

menu displaying live unresolved ticket counts (e.g., 🔴 3 New Faults).

📢 Team Instructions & Directives

1.  Biomed Dashboard (Home): Desktop-friendly split-view with 3 Tabs:

- Tab A: 'Reported Faults' (Urgent reactive repairs).

- Tab B: 'Compliance Due' (AS/NZS 3551 inspection schedule).

- Tab C: 'External / Warranty Jobs' (Vendor tracking view).

2.  Job Card (Repair Screen): Displays fault info, an Asset History link, a

Resolution Notes text area, and two separate save buttons:

- [Minor Repair Only] (Keeps existing test date).

- [Fix + Full Service] (Resets service timer to +1 year).

- Danger Zone: Include a distinct red button at the bottom: [Mark as

Beyond Repair (Condemn)].

3.  Compliance Form (Inspection Screen): Form requiring mandatory numeric inputs

(Leakage Current (µA) and Earth Resistance (Ω)).

4.  Vendor Logistics View: Read-only email log view with text inputs for Courier

Tracking Number or Vendor Visit Date, and a [Mark as Received] button."

please implement the following logic and database

requirements for the Biomed module:

1.  Role Routing: Route Role === 'Biomed' directly to /biomed/dashboard.

2.  Warranty Check on Fault Ingestion: When a fault is reported, check Purchase

Date + Warranty Duration. If active, automatically set status to

WARRANTY_CLAIM_OPEN and trigger the vendor email. If expired, set status to

PENDING_INTERNAL_REPAIR.

3.  Extended Asset Status ENUMs: Ensure the assets table status column supports:

- 'PENDING_INTERNAL_REPAIR'

- 'WARRANTY_CLAIM_OPEN'

- 'AT_VENDOR'

- 'PENDING_DISPOSAL'

- 'ACTIVE'

4.  Two-Button Logic:

- Quick Fix: Set status = 'ACTIVE', leave next_test_date unchanged.

- Fix + Full Service: Set status = 'ACTIVE', update next_test_date = NOW()

+ 1 YEAR.

5.  Audit Logging: Maintain an immutable record in audit_events for all vendor

emails dispatched and compliance numerical test logs."