SOFTWARE REQUIREMENTS SPECIFICATION (SRS)

Product: Audit-Ready Equipment Compliance Platform (v1 Scope)
Classification: Commercial in Confidence

1. Overview

1.1 Executive Summary

Australian aged care facilities and day hospitals are legally required to prove their equipment is safe, maintained, and planned for replacement (under ACQSC Standard 4 and NSQHS Action 1.29). Relying on fragmented spreadsheets and paper logs often leads to audit failures during unannounced inspections.

This project delivers a centralized, cloud-based platform that serves as a single source of truth for asset compliance. The core product philosophy is: "Asset tracking is the mechanism; audit evidence is the product." It ensures facilities remain audit-ready through intuitive mobile scanning for field staff and one-click compliance reporting for management.

1.2 Purpose & Scope

This Software Requirements Specification (SRS) defines the functional and technical requirements for Version 1 (v1) of the platform.

- In Scope (v1): Asset registration, QR code identification via mobile web, preventive/reactive maintenance scheduling, automated compliance reporting ("Evidence Packs"), and operational replacement forecasting.

- Out of Scope (v1): Patient-identifying data (PII), native iOS/Android applications (using PWA instead), finance/ERP integrations, complex approval workflows, and Single Sign-On (SSO).

1.3 Glossary

- ACQSC: Aged Care Quality and Safety Commission (Australian aged care regulator).

- NSQHS: National Safety and Quality Health Service Standards.

- AS/NZS 3551 / 3760: Australian standards for managing medical electrical equipment and general electrical test-and-tag.

- PM: Preventive Maintenance (scheduled, recurring tasks).

- Evidence Pack: The core product output; a one-click, auto-generated compliance PDF mapped to regulatory clauses.

- PWA: Progressive Web App (a browser-based mobile application used for scanning, requiring no app store download).

2. PROJECT STRUCTURE & TEAM

To deliver this platform efficiently, the project will be executed by a cross-functional Agile product squad consisting of 5 core team members.

- Pakeeza (Project Lead / Product Manager): Owns the product roadmap, manages domain knowledge, prioritizes the sprint backlog, and oversees overall project delivery.

- Asma & Muntaha (Backend Engineers): Responsible for developing the core system logic, building the .NET API architecture, implementing CQRS patterns, and designing the PostgreSQL database schema.

- Fatima: Responsible for the complete user experience blueprint.

- Faryal: Responsible for turning Faryal's Figma designs into production code.

(Note: Quality Assurance and testing—specifically focusing on data integrity, append-only rules, and offline mobile testing—will be conducted as a shared cross-functional responsibility throughout the sprints.)

3. SYSTEM OVERVIEW & MODULES

This section defines the core workflow of the system: from importing raw data to generating final audit reports.

Module 1: Data Import & Asset Register (Raw Data to Database)

This module handles bringing existing facility data into the system and maintaining the core asset database.

- Data Import Wizard: The system must provide a CSV/Excel import tool to upload raw spreadsheet data. It will automatically map columns and flag any duplicate serial numbers before saving to the database.

- Asset Profiles: Every asset will have a detailed profile storing its ID, category, location, purchase date, and current lifecycle state (e.g., Active, In Repair, Quarantined, Disposed).

- Universal Search: A global search bar allowing users to instantly find any asset using its name, serial number, or barcode tag.

Module 2: Maintenance & Compliance Engine (Lifecycle Tracking)

This module ensures all assets are maintained according to legal standards (e.g., AS/NZS 3551, 3760).

- Compliance Scheduling: Users can assign recurring maintenance rules (e.g., "Test every 12 months") to specific assets or entire categories.

- Due-Work & Tolerance: The system will automatically track due dates. If an asset misses its scheduled maintenance date (grace period expires), it will be flagged as Red (Overdue).

- Append-Only History: Every maintenance action, transfer, or status update is permanently saved. No data can be silently deleted; errors must be corrected via a new "superseding" entry to maintain data integrity.

Module 3: Field Operations (Updating the Record)

This module is for field workers (maintenance staff/contractors) to quickly update records on the go.

- Mobile QR Scanning: Users can open the platform on their mobile browser (PWA) to scan physical QR tags on assets, instantly loading the asset's digital record.

- Quick Service Logging: Staff can instantly log maintenance outcomes (Pass/Fail) and upload photos or PDF certificates directly from their phones.

- Instant Quarantine: If an asset fails a safety test, the system will immediately prompt the user to mark it as "Quarantined," turning its visual status red across the entire system.

Module 4: Evidence Packs (Instant Reporting & PDF Export)

This is the final output of the system, designed specifically for unannounced audits.

- 1-Click Audit Reports: When an inspector arrives, the Facility Manager can select a standard (e.g., Aged Care Standard 4) and click "Generate".

- Instant PDF Export: The system will instantly fetch all relevant asset records, maintenance histories, and missing item logs, compiling them into a formatted, downloadable PDF.

- Gap Transparency: The generated PDF will honestly display any missing or overdue maintenance alongside the facility's "Planned Action", proving to auditors that the system is actively tracking gaps.

4. DETAILED USE CASES

UC-01: Import Raw Asset Data (CSV to Database)

| Attribute | Detail |
| --- | --- |
| Use Case ID & Name | UC-01: Import Raw Spreadsheet Data |
| Primary Actor | Admin / Facility Manager |
| Pre-conditions | User is logged into the desktop system. Raw asset data exists in CSV/Excel format. |
| Trigger | Facility needs to migrate legacy data into the new system. |
| Input Details | CSV File upload, Column mapping rules. |
| Main Success Flow | 1. User uploads CSV file. 2. System prompts user to map columns (e.g., Excel 'Name' to Database 'Asset Name'). 3. System runs a "Dry-Run" validation to check for missing categories. 4. User confirms the import. 5. System populates the database and activates the assets. |
| Exception Flow | If the CSV contains duplicate Serial Numbers, the system flags the specific rows as errors during the Dry-Run and prompts the user to fix them before importing. |
| Post-conditions | Assets are successfully created in the database and visible on the main dashboard. |

UC-02: Log a Scheduled Service (Mobile Field Worker)

| Attribute | Detail |
| --- | --- |
| Use Case ID & Name | UC-02: Log Scheduled Service via PWA |
| Primary Actor | Maintenance Officer / Contractor |
| Pre-conditions | User is logged in on mobile PWA. Asset has an active compliance schedule. |
| Trigger | User views the "Due Work" list and approaches an asset to perform maintenance. |
| Input Details | QR Scan, Service Outcome (Pass/Fail/Notes), Attachment (Photo/PDF). |
| Main Success Flow | 1. User taps "Scan" and scans asset QR code. 2. System displays Asset details and Due schedules. 3. User selects the due schedule. 4. User enters outcome, adds a photo, and submits. 5. System logs append-only ServiceRecord, updates next_due date, and returns to Due Work list. |
| Alternative Flow | If an asset lacks a physical barcode, user manually searches by asset ID or name in the global search bar. |
| Exception Flow | If Outcome = "Fail" on a safety test, system prompts: "Quarantine Asset?". If accepted, Asset state changes to Quarantined and visually turns RED across the entire platform. |
| Post-conditions | Schedule is marked complete. Evidence pack engine immediately reflects the new service record. |

UC-03: Perform Physical Stocktake (Mobile Offline-capable)

| Attribute | Detail |
| --- | --- |
| Use Case ID & Name | UC-03: Execute Room Stocktake |
| Primary Actor | Maintenance Officer |
| Pre-conditions | Site Manager has opened an active "Stocktake Session". |
| Trigger | User enters a room to physically verify the existence of assets. |
| Input Details | Location context (e.g., "Wing A, Room 12"), Scanned barcodes. |
| Main Success Flow | 1. User selects Location in PWA. 2. UI shows "Expected count: X". 3. User scans assets rapidly; counter increments. 4. User hits "Complete Room". 5. System records StocktakeScan events. |
| Alternative Flow | If asset is unscannable, user clicks "Confirm Manually", selects a reason (e.g., Label damaged), and system logs manual confirmation. |
| Exception Flow | If user loses Wi-Fi/4G connection, PWA switches to offline mode. Scans are saved to device IndexedDB. Upon network restoration, UI prompts "Sync offline scans" and pushes data to the server without data loss. |
| Post-conditions | Room variance is updated in the active session for the manager's review. |

UC-04: Generate Audit Evidence Pack (Desktop)

| Attribute | Detail |
| --- | --- |
| Use Case ID & Name | UC-04: Generate Evidence Pack |
| Primary Actor | Facility Manager |
| Pre-conditions | Auditor is on-site. System contains asset and service histories. |
| Trigger | Auditor requests proof of compliance (e.g., Standard 4). |
| Input Details | Site selection, Pack Type (Aged Care Std 4), Date Range (Last 12 months). |
| Main Success Flow | 1. User navigates to "Evidence Packs" module. 2. User selects parameters and clicks "Generate". 3. System aggregates Register, Maintenance Plan, and Service Logs. 4. System maps data to regulatory clauses. 5. System generates an immutable, timestamped PDF. 6. User downloads and hands PDF to assessor. |
| Exception Flow | If an asset has missed its maintenance date, the system does NOT hide it. It flags the item as Overdue in the PDF and displays the user's "Planned Action" to show auditors transparent gap management. |
| Post-conditions | A versioned, read-only copy of the generated PDF is saved in the database to prove exactly what was shown to the auditor on that date. |

5. TECHNICAL SPECIFICATIONS

This section outlines the technological environment, architectural patterns, and database logic required to implement the system.

5.1 Technology Stack (Implementation Constraints)

- Backend Framework: .NET 8 API utilizing FastEndpoints for a lightweight, vertical slice architecture.

- Architecture Pattern: CQRS (Command Query Responsibility Segregation) must be used to separate complex PDF generation reads from high-volume mobile scan writes.

- Frontend (Web/Desktop): Nuxt 4 (Vue.js based) for creating reactive, accessible management dashboards.

- Frontend (Mobile): Progressive Web App (PWA) integrated into the Nuxt app, utilizing the device's native Camera API and IndexedDB for offline queuing of scans.

- Database: PostgreSQL (Relational mapping is strictly required for schema compliance and data integrity).

5.2 Data Model Rules & Append-Only Logic

To guarantee data integrity for compliance audits, the system relies on an Append-Only Database Logic.

- No Hard Deletes: Deletion of compliance-bearing records (services, schedules) is strictly prohibited. Records must be superseded or marked as Voided.

- Core Entities & Relationships:

  - Tenant (Provider) -> 1:N -> Site -> 1:N -> LocationNode.

  - Asset: Contains Identity fields, Financial-lite fields (cost, nominal life), and current State.

  - ComplianceProfile: Reusable bundles mapping to regulatory frameworks (e.g., AS/NZS 3760).

  - ScheduleInstance: Attached to an asset. Denormalizes the next_due date for fast querying.

  - ServiceRecord: Append-only record containing date, actor, outcome, and PDF attachments. Automatically re-computes next_due upon creation.

  - AuditEvent: A global append-only table recording every state change (Entity ID, Actor, Timestamp, Diff) for tracking user actions.

  - EvidencePack: Stores parameters, generation timestamps, and a reference to the stored immutable PDF blob in cloud storage.

6. NON-FUNCTIONAL REQUIREMENTS

6.1 Security & Compliance

- Data Residency: All data, backups, and media attachments must reside in Australia (Sydney Region AWS/Azure) to meet enterprise procurement requirements.

- Privacy: Australian Privacy Principles (APP) compliant. By design, no patient-identifying data is captured in v1.

- Authentication: Mandatory strong passwords. TOTP 2FA required for Admin roles, optional for others. Role-Based Access Control enforced at the API layer.

- Data Integrity: Immutable history. Corrections are made via superseding entries, leaving the original visible in the audit log.

6.2 Performance & Availability

- Availability: 99.5% uptime target during business hours.

- Response Times:

  - Scan to Asset load on 4G mobile: < 2.0 seconds.

  - Generate 12-month Evidence Pack (1,000 assets): < 30.0 seconds.

- Scalability: The Asset Register data table must implement virtualization to render lists of up to 10,000 assets smoothly (to handle hospital-scale deployments without browser lag).

7. User Journeys

The detailed, expanded user journeys for your 4 specific personas based on your architectural logic.

1. System Admin (The Controller)

The Admin holds full editing, configuration, and deletion rights. They manage the entire system's backend data.

- How they interact: Via a comprehensive Desktop Dashboard.

- Detailed User Journey:

  - Structure Setup: Log in and map out the hierarchy of the organization (e.g., Hospital A → Ward 3 → Room 12).

  - User Management: Create accounts for new Biomedical staff and Nurses, assigning them strict role boundaries.

  - Asset Initialization: Input new medical equipment batches (e.g., 50 new IV pumps), generate unique QR codes, and print them for physical placement.

  - Data Correction: Review system logs. If a nurse accidentally inputs a wrong asset serial number, the Admin is the only person who can edit or delete that entry to keep the database clean.

2. Biomedical Person (The Routine Checker)

The Biomed staff manages maintenance schedules, calibration, and compliance tracking according to Australian healthcare safety standards (AS/NZS 3551). They can input operational data but cannot alter system settings.

- How they interact: Via a mobile Tablet or Toughbook (since they move constantly between wards and clinics).

- Detailed User Journey:

  - Daily Agenda: Opens the app in the morning to see a pre-scheduled list of assets requiring routine testing today.

  - Scanning: Walks up to a Defibrillator in the Emergency ward, scans the QR code, and opens its maintenance log.

  - Checklist Execution: Follows a strict digital checklist on the screen (e.g., Electrical Safety Test: Pass/Fail, Battery Capacity Test: Pass/Fail).

  - Submission: Enters calibration numbers, uploads the digital signature, and saves it. The system automatically locks this entry as an unchangeable record for future audit compliance.

3. Floor Nurse / Caregiver (The Limited Reporter)

As you perfectly pointed out, giving a nurse edit or delete access creates data integrity and safety risks. The nurse only has read-only access for identification and write-only access for creating fault logs.

- How they interact: Via a handheld Hospital Smartphone or PDA (optimized for fast, single-handed use while caring for patients).

- Detailed User Journey:

  - Fault Identification: A syringe pump stops working mid-shift and displays an error code.

  - Instant Scan: The Nurse pulls out the hospital phone and scans the QR code on the pump.

  - Simplified Interface: The app bypasses all complex menus and displays only two fields: Error Category (dropdown) and Additional Notes (text/photo input).

  - Submission & Lock: She selects "Device Failure", types "Screen went blank", takes a quick photo, and hits Submit.

  - Result: The screen instantly switches to a read-only confirmation page showing "Status: Ticket Raised". The nurse cannot modify, close, or delete this ticket.

4. External Maintainer (The Third-Party Vendor)

Since these are external contractors (e.g., technicians from Philips, Siemens, or GE), they should not have an active login account or access to the hospital's internal infrastructure data.

- How they interact: Via automated emails containing secure, single-use, tokenized web links that open in a mobile browser without a password.

- Detailed User Journey:

  - Trigger: The internal Biomed person reviews a reported fault on a complex MRI machine and clicks "Escalate to Vendor".

  - Automated Dispatch: The system automatically emails the external vendor company. The email reads: "Service Required for Asset #MRI-04 at St. Vincent Clinic."

  - Portal Access: The external technician clicks a secure button in the email: "Access Job Sheet". A web page opens showing only the specific details of that broken MRI machine and its error logs. All other hospital assets remain hidden.

  - Job Completion: After repairing the machine physically at the hospital, the technician uploads a photo of their paper field service report into this web link, enters their service notes, and clicks "Mark as Fixed".

  - Closure: The link immediately expires. The system automatically updates the asset status back to "Operational" on the Admin dashboard and notifies the internal team.

8. System Responsibilities

1. Security & Access Control (RBAC)

The system is responsible for protecting data integrity and ensuring strict boundary walls between users.

- Role Enforcement: Restrict data access based on the user profile (e.g., completely block Floor Nurses from finding "Delete" or "Edit" endpoints).

- Session Management: Automatically log out users on shared hospital devices after a period of inactivity to protect patient and operational data.

- Audit Logging: Permanently record who changed what asset and when (e.g., "Admin modified Serial Number of Asset X on 04/08/2026"). This log must be unalterable.

2. Australian Compliance & Standards Tracking

The system must act as a compliance engine to keep the hospital audit-ready for Australian healthcare regulations.

- AS/NZS 3551 Tracking: Calculate and enforce mandatory testing intervals for medical devices.

- Automatic Scheduler: Run a daily background job to scan the database and automatically flag assets entering their "Due for Testing" window.

- Certificate Storage: Securely store, index, and retrieve digital compliance calibration certificates so they can be generated instantly during a random health department audit.

3. Smart Notification & Dispatch Engine

The system is responsible for routing communication instantly without human intervention.

- Internal Routing: Instantly convert a Nurse's fault report into a high-priority ticket on the internal Biomedical technician's dashboard.

- External Tokenization: Generate a secure, time-limited, single-use URL token for external vendors when a major asset fails.

- Escalation Logic: Monitor open tickets. If a high-priority breakdown ticket is not acknowledged by a technician within 2 hours, automatically escalate it to the Facility Manager via SMS/Email.

4. Asset Lifecycle & Data Management

The system must manage the mathematical and operational history of every asset from procurement to disposal.

- QR Code Serialization: Generate completely unique, non-duplicable strings for QR code generation when a new asset is initialized.

- Depreciation Calculation: Automatically calculate asset value depreciation using Australian Taxation Office (ATO) standards to help managers with capital planning.

- Cost Accumulation: Sum up all parts, labor hours, and external vendor invoices against each specific asset to track its total "Cost of Ownership."

Summary Matrix: Action vs. System Responsibility

| User Action | System Responsibility (What the Software Does) |
| --- | --- |
| Nurse scans QR code | Decodes the QR string, checks user permissions, and fetches the asset's active status. |
| Biomed logs a passed test | Locks the record, updates the "Next Test Due" date, and resets the audit countdown timer. |
| Admin inputs new machine | Validates data fields, saves parameters to database, and structures a downloadable QR image file. |
| Vendor clicks email link | Validates the secure token, checks if the token has expired, and displays a restricted, single-asset view. |

10. User Flows

1. Floor Nurse Flow: Reporting a Faulty Asset

This flow must be as short as possible so the nurse can quickly get back to patient care.

[Start: Broken Device]

│

▼

[Open App & Tap "Scan QR Code"]

│

▼

[Camera Opens ──> Scan Sticker]

│

▼

[System Validates QR Code?]

├─── No  ──> [Show Error: "Asset Not Found"] ──> [Retry Scan]

└─── Yes ──> [Show Simplified Asset Screen]

│

▼

[Fill Form: Select Issue Dropdown]

│

▼

[Optional: Take & Attach Photo]

│

▼

[Tap "Submit"]

│

▼

[System Saves Data to DB]

│

▼

[System Triggers Biomed Notification]

│

▼

[Show Screen: "Ticket #123 Raised Successfully"]

│

▼

[End: Screen Locks]

2. Biomedical Technician Flow: Routine Compliance Check

This flow is linear and forces the technician to complete safety checks before they can mark an asset as safe.

[Start: Open Daily Checklist Dashboard]

│

▼

[Select Asset from "Due for Testing" List]

│

▼

[Walk to Asset ──> Scan QR to Confirm Match]

│

▼

[System Opens AS/NZS 3551 Digital Checklist]

│

▼

[Step 1: Visual Inspection Check?]

├─── Fail ──> [Change Status to: "Out of Service"] ──> [Trigger Repair Ticket]

└─── Pass ──> [Step 2: Electrical Safety Testing Check?]

├─── Fail ──> [Change Status to: "Out of Service"] ──> [Trigger Repair Ticket]

└─── Pass ──> [Step 3: Calibration Check?]

├─── Fail ──> [Change Status to: "Out of Service"]

└─── Pass ──> [Input Calibration Values]

│

▼

[Tap "Complete & Sign"]

│

▼

[System Regenerates "Next Due Date"]

│

▼

[System Generates PDF Certificate]

│

▼

[End: Status Updated to "Operational"]

3. External Maintainer Flow: Secure Guest Ticket Resolution

This flow highlights how an external vendor interacts with the system without a username or password.

[Start: Receive Automated Email Notification]

│

▼

[Click Secure Action Link in Email]

│

▼

[System Checks Token Validity]

├─── Expired/Invalid ──> [Show Error: "Link Expired. Contact Admin."]

└─── Valid ─────────────> [Open Restricted Web Portal]

│

▼

[View Fault Details & Location]

│

▼

[Perform Physical Repair at Hospital]

│

▼

[Upload Photo of Service Report]

│

▼

[Click "Mark as Fixed"]

│

▼

[System Notifies Internal Admin & Biomed]

│

▼

[System Expires the Token/Link]

│

▼

[End: Asset Status Moves to "Awaiting Verification"]

4. Asset Onboarding Flow (Admin)

This flow handles the creation of a new asset record in the database and the generation of its unique identity.

[Start: New Asset Arrives at Facility]

│

▼

[Admin Logs into Desktop Dashboard]

│

▼

[Click "Add New Asset" ──> Opens Multi-Step Form]

│

▼

[Input Core Details: Name, Model, Serial No, Supplier, Warranty Expiry]

│

▼

[Select Asset Criticality & Risk Level (High / Medium / Low)]

│

▼

[System Runs Validation: Is Serial Number Unique?]

├─── No  ──> [Show Error: "Duplicate Serial Number Found"] ──> [Fix Input]

└─── Yes ──> [Save to Database with Status: "In Storage"]

│

▼

[System Generates Unique UUID String]

│

▼

[System Converts UUID into QR Code Graphic File]

│

▼

[Click "Print Label" ──> Sends to QR Sticker Printer]

│

▼

[End: Ready for Deployment]

- Code Layer Tip: Your database schema needs a status column default value set to 'In_Storage' or 'Pending_Deployment' right after this flow finishes.

5. Spare Parts & Inventory Flow (Biomed Tech)

Technicians cannot fix machines if they do not know what parts are in stock. This flow tracks internal warehouse inventory.

[Start: Repair Requires a Spare Part]

│

▼

[Biomed Opens "Inventory" Tab on Tablet]

│

▼

[Search Part Name or Scan Barcode on Part Box]

│

▼

[System Checks Available Stock Count]

├─── Stock = 0 ──> [Click "Request Purchase Order"] ──> [Notify Admin]

└─── Stock > 0 ──> [Click "Allocate to Job Ticket #XYZ"]

│

▼

[System Subtracts 1 from Inventory Count]

│

▼

[System Checks Reorder Threshold Level]

├─── Count Below Safe Level ──> [Trigger Low Stock Alert]

└─── Count Safe ──────────────> [Proceed to Repair]

│

▼

[End: Part Tied to Asset History]

- Code Layer Tip: You will need a relational table mapping Parts_Inventory to your main Work_Orders table using foreign keys.

6. Decommissioning & Disposal Flow (Admin/Manager)

When a medical device becomes too dangerous or expensive to maintain, it must be legally retired. You cannot just "delete" it because past compliance records must be preserved for audit history.

[Start: Device is Unfixable or Past Maximum Lifetime]

│

▼

[Manager Searches Asset ID in Dashboard]

│

▼

[Click "Initiate Decommissioning"]

│

▼

[Form Open: Input Disposal Reason (e.g., Scrapped, Sold, E-Waste)]

│

▼

[Upload Mandatory EPA/Regulatory Disposal Certificate (PDF)]

│

▼

[Click "Confirm Decommission"]

│

▼

[System Changes Database Status to: "Decommissioned"]

│

▼

[System Soft-Locks the Record: Read-Only Mode Enabled]

│

▼

[System Removes Asset from All Active Maintenance Schedules & Calendars]

│

▼

[System Disables QR Code: Scanning now shows "Asset Inactive"]

│

▼

[End: Archive Preserved for Audits]

- Code Layer Tip: Do not use a SQL DELETE query here. Use a deleted_at timestamp or a status = 'Decommissioned' flag (Soft Delete) so you never lose the audit history.

System Background Processes

1. The Compliance & Safety Scheduler (The "Daily Check" Cron Job)

This process runs automatically every night at 12:00 AM. No user triggers it.

[Start: Timer Hits 12:00 AM] ──> [Query Database: Find Active Assets]

│

▼

[Calculate: Current Date vs. Next_Test_Due_Date]

│

▼

[Is Next_Test_Due_Date <= 30 Days Away?]

├─── No  ──> [Do Nothing]

└─── Yes ──> [Change Status to: "Maintenance Due"]

│

▼

[Generate Tasks on Biomed Dashboard]

- Code Implementation: A cron job triggers an array-mapping function over your Assets table, updating records where the condition matches.

2. The Ticket Monitor

This worker runs constantly every 15 minutes to monitor open breakdown tickets submitted by nurses.

[Start: Every 15 Mins] ──> [Query DB: Find Tickets Where Status = 'Open' & Urgency = 'High']

│

▼

[Calculate: Current Time minus Created_At Time]

│

▼

[Is Difference > 2 Hours?]

├─── No  ──> [Do Nothing]

└─── Yes ──> [Check: Has a Tech Acknowledged It?]

├─── Yes ──> [Do Nothing]

└─── No  ──> [Trigger Escalation]

│

▼

[Send SMS Alert to Manager]

3. Token Expiry & Security Janitor

This background process checks for external vendor secure links that were sent out but never used or are now old.

[Start: Every 1 Hour] ──> [Query DB: Find Active Vendor Access Tokens]

│

▼

[Compare: Current Time vs. Token_Expiry_Timestamp]

│

▼

[Is Token Past Expiry?]                               ├─── No  ──> [Keep Token Active]

└─── Yes ──> [Update Token Status to: 'Expired']

│

▼

[Close Vendor External Portal Access]